## Slide 1: -Sample Health Centre-: Fire and Evacuation Exercise
Date: xx, xxxx

## Slide 2: Overview
Introductions
Exercise Guidelines
Exercise Goals
Exercise Scenario and Discussion
Hot Wash

## Slide 3: Exercise Guidelines
One person speaks at a time
Everyone gets a chance to speak
No/limit side bar conversations
Not testing you, testing the plan/procedures
Reference you plan
There are not wrong answers
Put phones on silent/vibrate
Please leave room to text, e-mail, phone calls
Return as quickly as possible
Don’t fight the scenario
May skip questions based on previous questions and/or time

## Slide 4: Exercise Scope
This exercise is to walk through and tests internal procedures outlined in the Code Red and Green plans plan for -Sample Health Centre-.
This exercise is not to test staff knowledge or all aspects of the plan, but it should touch on core procedures.

## Slide 5: Exercise Goals
Walk through the plans and provide a chance for discussion and/or clarification of the plans and to gain familiarity with the updated plans.
Test the suitability of internal procedures covering:
  Initial Fire Response and partial evacuation
  Internal Processes for Coordinating with First Responders
  Total Evacuation
Identify gaps/issues in the new plan and methods of improvement

## Slide 6: Scenario Phase #1
Scenario #1 - It is 10:30 on a Tuesday November. A nurse working on a unit has noticed smoke coming from beneath the door of the clean utility room in an inpatients/resident area. She checks the door for heat, finds that it is hot and decides not to open it.
Some residents are in their rooms, others are in the common area and there are several visitors present. The smoke has not triggered the fire alarm but is becoming noticeable in the common area.

## Slide 7: Discussion Questions
As the individual discovering the smoke, what steps should be taken initially?
Who is the incident commander and what steps are they taking to address the situation?
What are staff on the household doing once aware of the fire?
What are staff in areas outside the household doing once the fire alarm activates?
How is the fire department informed of the fire?

## Slide 8: Scenario Phase #2
Scenario #2 – Residents have been removed from the immediate area impacted by the smoke but there is no indication fire has been extinguished. Smoke, and the smell of smoke, is beginning to seep further into the household and into the administrative area.

## Slide 9: Discussion Questions
Who would determine the need for further (partial/total) evacuation in this area?
What would be considered prior to the decision being made?
Where would residents be evacuated to in a partial evacuation? Total?
How is the decision announced and other information announced?

## Slide 10: Scenario Phase #3
Scenario #3 – Smoke is flowing under the fire door at a faster rate now. Smoke is thick in the area and becoming thicker. The sprinkler system has not yet activated and the fire department is not on scene. Based on information relayed to the Incident Commander from other areas, it is determined that entire building needs to be evacuated to the parking lot as a precaution.

## Slide 11: Discussion Questions
What are staff in each area doing once total evacuation is called?
What is the process for moving residents and visitors the assembly area(s)?
How are evacuation assembly areas staffed?
What equipment/information is being taken from the units?
How are residents accounted for as they are evacuated?
What are other staff doing in areas without residents? Can they be deployed to assist? How?

## Slide 12: Scenario #4
Scenario #4: First responders have begun to arrive on scene to assist.

## Slide 13: Discussion Questions
According to the plan(s), what first responders will arrive? And what can be expected of them?
Who will meet and provide information to first responders?
What information will they need and how is that shared?
Will extra staff be called in? How? Where will they respond? Who will direct them?

## Slide 14: Scenario Phase #5
Scenario #5 – The fire department has contained and extinguished what turned out to be an electrical fire in the clean utility closet. All residents and staff are safe at the external assembly area.
The building is currently not safe to reoccupy due to lingering smoke. The fire department anticipates 3 – 6 hours until the building can be safely reoccupied. It is determined that the residents will have to move to an emergency shelter for this period.

## Slide 15: Discussion Questions
Where are residents relocated to in the short term? What notifications need to take place?
What transportation resources exist for relocation of residents?
What information does EMS require to support relocation?
How Is resident care provided in the short term at the evacuation shelter?

## Slide 16: Scenario Phase #6
Scenario #6 – After consultations and clean up it is determined that staff and residents can return to the home.

## Slide 17: Discussion Questions
What needs to be considered and who needs to be consulted regarding reoccupation of evacuated areas?
Who will make the final determination as to when to reoccupy the evacuated areas?
How will health and safety of folks in these areas (residents, staff etc.) be monitored over the medium term?
What if adverse affects are detected after reoccupation?

## Slide 18: Hot Wash
What worked well/were you confident with?
What could be improved/were you less confident with?
Are there specific gaps in the plan?
Other suggestions for improvement?