## Slide 1: {Insert Facility Name} Power Loss Exercise
MM/DD/YYY

## Slide 2: Overview
Introductions
Ground Rules
Exercise Goals
Exercise Scenario and Discussion
Hot Wash

## Slide 3: Ground Rules
One person speaks at a time
Everyone gets a chance to speak
Limit side bar discussions please
Not testing you, testing the plan/procedures
Feel free to consult the plan
Put phones on silent/vibrate
Please leave room to text, e-mail, phone calls
Return as quickly as possible
Don’t fight the scenario

## Slide 4: Exercise Scope
The intent of this exercise is to walk through, tests and discuss internal procedures outlined in the {insert facility name} Power Loss Plan.
It is not to test staff knowledge, comprehensive issues of coordination with external agencies or coordination process with other facilities. This is not a comprehensive test of all aspects of the plan but should touch on core internal procedures.

## Slide 5: Exercise Goals
Walk through the plan and provide a chance for discussion and/or clarification of the plans and to gain familiarity with the plan.
Test the suitability of internal procedures covering:
  Activation of the plan
  Response to a loss of power with a functioning generator
  Response to a loss of power if the generator fails
  Demobilization of the plan
Identify gaps/issues in the plan and ways to improve

## Slide 6: Scenario Phase #1
Phase #1 - It is Monday February 23rd and an intense winter storm has been battering PEI for the better part of the day. The power has been flickering on an off all day and finally at 8:00 pm power to the facility cuts out and the back up generator kicks in.

## Slide 7: Discussion Questions
Who would need to be notified on site? Off site? How?
What initial steps would be taken to determine if the problem is internal to the site or external?
What portions of the facility are powered by the generator, use battery power, have no back up power?
What additional equipment is on hand to support staff during a power outage? In what quantities? Where are the supplies located?
What initial steps are being taken to ensure the safety of residents, staff and the facility?
Once notified what steps is the Incident Commander/person in charge taking to:
  determine the cause and severity of the issue and the impact on the site?
  organize staff and determine impacts to the facility?
  notify other Health PEI Staff?

## Slide 8: Scenario Phase #2
Phase #2 – By 11:00 pm it has been determined that the power loss is a result of downed lines throughout the region, impacting more than just the manor. The storm is letting up but the city utility is unable to provide an estimate as to the length of the outage. Site management is unable to reach the facility due to the amount of snow on the roads.

## Slide 9: Discussion Questions
What are the chief concerns of each department regarding their ability to provide services and are these issues addressed in the plan?
How are normal operations altered due to the power outage and how are these changes communicated?
What external organizations would site reps be contacting/remaining in contact with?
  Who is doing the contacting?
  Where is the contact information kept?
  What information will you be providing and what will you be expecting?
How will the continued operation of the generator be maintained over this period (e.g. fueling, fuel conservation, mechanical operation etc.)
How is site leadership communicating with each other and the site at this point?

## Slide 10: Scenario Phase #3
Phase #3 – The night has passed without incident and residents are beginning to wake for the day. The snow is letting up and some roads are opening. The power utility is now estimating 6-8 hours max for return of power. As staff begin trickling in the generator begins to make a “new sound” that was not heard overnight. 15 minutes later the generator cuts out leaving the facility without any power

## Slide 11: Discussion Questions
Once the power cuts out completely what are the first steps are taken by the Incident Commander?
How are changes in the status of the incident communicated to staff and residents?
What additional supplies/equipment are needed/available and in what quantities?
What initial steps would be taken to determine what the problem is and how will it be addressed?
How do impacts to the facility change when there is no power vs. backup power?
What steps are being taken to ensure the safety of residents, staff and the facility?
How long can the facility operate without power?

## Slide 12: Scenario Phase #4
Phase #4 – After 4 hours without backup power the Summerside Power Utility has restored power the Wedgewood Manor. The back up generator is still not functioning but main power has been restored. The weather has cleared and roads are being opened by plows but an additional system is expected within the next two days.

## Slide 13: Discussion Questions
What/who triggers staff to begin reverting back to normal operating procedures?
Are any actions required prior to deactivation of the plan and returning to normal operations?
Would this deactivation happen considering the ongoing generator issues?
What actions are taken to ensure the generator is repaired?
What supplies require replenishment?
What facility systems/equipment may need to be reactivated/tested?
What communication methods are used to inform staff and residents of the change in situation?

## Slide 14: Hot Wash
What worked well/were you confident with?
What could be improved/were you less confident with?
Are there specific gaps in the plan?
Other suggestions for improvement?